ENERGY PREDICTION FOR SOUTH CAROLINA HOUSES

In our exploration of all of our data we used 5 different models. First we explored linear regression models under 3 different categories: building infrastructure, appliance usage, and weather. In our data we decided to use 1400, or 2pm, to determine our data.

This is our summary for ourdata$month_total_electricity_usage which is what we want to predict throughout our models.

LINEAR REGRESSION MODELS

Model 1 (Building Infrastructure):

Call:

lm(formula = month_total_electricity_usage ~ ., data = train_data1)

Residuals:

Min      1Q  Median      3Q     Max

-877.04 -108.56   26.59  113.35  750.55

Coefficients: (2 not defined because of singularities)

Estimate Std. Error t value Pr(>|t|)

(Intercept)                                 1014.45341   91.72289  11.060  < 2e-16 ***

in.sqft                                       -0.53484    0.07062  -7.574 4.56e-14 ***

in.bedrooms                                   17.92976    6.26761   2.861  0.00425 **

in.building_america_climate_zoneMixed-Humid  -23.37012    9.07968  -2.574  0.01009 *

in.geometry_floor_area1500-1999              416.86635   37.48308  11.121  < 2e-16 ***

in.geometry_floor_area2000-2499              728.09345   71.53764  10.178  < 2e-16 ***

in.geometry_floor_area2500-2999             1032.64284  105.41474   9.796  < 2e-16 ***

in.geometry_floor_area3000-3999             1718.27908  148.72713  11.553  < 2e-16 ***

in.geometry_floor_area4000+                 4772.78521  496.54733   9.612  < 2e-16 ***

in.geometry_floor_area500-749               -147.47857   48.39780  -3.047  0.00233 **

in.geometry_floor_area750-999                       NA         NA      NA       NA

in.geometry_stories                           69.00339    8.41687   8.198 3.33e-16 ***

in.geometry_wall_typeConcrete                 13.10517   26.71848   0.490  0.62382

in.geometry_wall_typeSteel Frame             117.83541   51.63768   2.282  0.02255 *

in.geometry_wall_typeWood Frame              -22.88752   10.44749  -2.191  0.02853 *

in.heating_setpoint60F                       429.66307   40.42024  10.630  < 2e-16 ***

in.heating_setpoint65F                       434.10641   22.23852  19.520  < 2e-16 ***

in.heating_setpoint67F                       -15.70453   40.27926  -0.390  0.69664

in.heating_setpoint68F                       591.00813   16.93679  34.895  < 2e-16 ***

in.heating_setpoint70F                       446.24032   17.22257  25.910  < 2e-16 ***

in.heating_setpoint72F                       447.72919   17.32891  25.837  < 2e-16 ***

in.heating_setpoint75F                       582.27845   17.29998  33.658  < 2e-16 ***

in.heating_setpoint76F                       379.43715   23.40535  16.212  < 2e-16 ***

in.heating_setpoint78F                       590.40046   26.86331  21.978  < 2e-16 ***

in.heating_setpoint80F                       265.73524   27.69611   9.595  < 2e-16 ***

in.cooling_setpoint67F                      -359.54224   42.23176  -8.514  < 2e-16 ***

in.cooling_setpoint68F                       -81.57518   25.12975  -3.246  0.00118 **

in.cooling_setpoint70F                        -8.00208   22.18708  -0.361  0.71837

in.cooling_setpoint72F                      -177.51868   22.08473  -8.038 1.22e-15 ***

in.cooling_setpoint75F                      -209.95156   23.35479  -8.990  < 2e-16 ***

in.cooling_setpoint76F                      -325.46742   23.54152 -13.825  < 2e-16 ***

in.cooling_setpoint78F                      -234.25291   23.42337 -10.001  < 2e-16 ***

in.cooling_setpoint80F                      -485.20960   28.51187 -17.018  < 2e-16 ***

in.hvac_heating_typeDucted Heating           -65.68780   10.87932  -6.038 1.72e-09 ***

in.hvac_heating_typeNon-Ducted Heating       211.58526   26.15355   8.090 8.01e-16 ***

in.hvac_cooling_typeHeat Pump                       NA         NA      NA       NA

in.hvac_cooling_typeNone                     157.87954   29.39957   5.370 8.35e-08 ***

in.hvac_cooling_typeRoom AC                 -348.76068   26.57522 -13.124  < 2e-16 ***

---

Signif. codes:  0 ‘***’ 0.001 ‘**’ 0.01 ‘*’ 0.05 ‘.’ 0.1 ‘ ’ 1

Residual standard error: 232.5 on 3686 degrees of freedom

Multiple R-squared:  0.6348,	Adjusted R-squared:  0.6313

F-statistic:   183 on 35 and 3686 DF,  p-value: < 2.2e-16

Model 1 represents variables that have to do with essential building information and see what effect that they have on the total energy usage for the month.

Statistical Model Analysis:

Significant Predictors:

Square Footage (in.sqft): The negative coefficient suggests that larger buildings use slightly less electricity than predicted by the model, possibly due to more efficient use of space or equipment.

Floor Area Categories: Different floor areas significantly affect electricity usage, with larger areas generally associated with higher usage.

Heating and Cooling Setpoints: The specific temperature settings for heating and cooling significantly impact predicted electricity usage. Higher setpoints in both heating and cooling lead to increased usage.

HVAC Type: Different types of heating and cooling systems (Ducted Heating, Non-Ducted Heating, Room AC) show significant differences in electricity usage, with non-ducted heating systems predicted to use more electricity.

Conclusions:

Model Fit: The model explains approximately 63.48% of the variance in electricity usage (Multiple R-squared: 0.6348), which is decent but suggests room for improvement.

Predictive Accuracy: The presence of residuals (errors in prediction) across different quartiles indicates variability in the model's accuracy across different observations

Model 2 (Appliance Usage):

Call:

lm(formula = month_total_electricity_usage ~ ., data = train_data2)

Residuals:

Min      1Q  Median      3Q     Max

-834.64  -82.81  -13.89   64.14  910.47

Coefficients: (16 not defined because of singularities)

Estimate Std. Error t value Pr(>|t|)

(Intercept)                                             226.624      8.278  27.375  < 2e-16 ***

out.electricity.clothes_dryer.energy_consumption        -48.263     10.411  -4.636 3.68e-06 ***

out.electricity.clothes_washer.energy_consumption        38.669     98.399   0.393 0.694355

out.electricity.cooling_fans_pumps.energy_consumption -2102.439    354.868  -5.925 3.42e-09 ***

out.electricity.cooling.energy_consumption              402.917     25.549  15.770  < 2e-16 ***

out.electricity.dishwasher.energy_consumption           -39.276     52.152  -0.753 0.451433

out.electricity.freezer.energy_consumption              336.175    123.377   2.725 0.006465 **

out.electricity.heating_fans_pumps.energy_consumption        NA         NA      NA       NA

out.electricity.heating_hp_bkup.energy_consumption           NA         NA      NA       NA

out.electricity.heating.energy_consumption                   NA         NA      NA       NA

out.electricity.hot_tub_heater.energy_consumption      2573.833  11036.611   0.233 0.815612

out.electricity.hot_tub_pump.energy_consumption       -1216.556  10591.774  -0.115 0.908563

out.electricity.hot_water.energy_consumption            174.829     22.605   7.734 1.33e-14 ***

out.electricity.lighting_exterior.energy_consumption  12829.899    650.160  19.733  < 2e-16 ***

out.electricity.lighting_garage.energy_consumption     -762.214    981.239  -0.777 0.437334

out.electricity.lighting_interior.energy_consumption     39.248     33.726   1.164 0.244606

out.electricity.mech_vent.energy_consumption          -3409.544    534.213  -6.382 1.96e-10 ***

out.electricity.plug_loads.energy_consumption           968.574     12.737  76.045  < 2e-16 ***

out.electricity.pool_heater.energy_consumption          264.514    114.082   2.319 0.020469 *

out.electricity.pool_pump.energy_consumption            558.206     18.773  29.735  < 2e-16 ***

out.electricity.pv.energy_consumption                   244.985      5.114  47.902  < 2e-16 ***

out.electricity.range_oven.energy_consumption           -51.507     13.238  -3.891 0.000102 ***

out.electricity.refrigerator.energy_consumption         881.735     64.290  13.715  < 2e-16 ***

out.electricity.well_pump.energy_consumption           1514.315    210.704   7.187 7.98e-13 ***

out.fuel_oil.heating_hp_bkup.energy_consumption              NA         NA      NA       NA

out.fuel_oil.heating.energy_consumption                      NA         NA      NA       NA

out.fuel_oil.hot_water.energy_consumption                    NA         NA      NA       NA

out.natural_gas.clothes_dryer.energy_consumption             NA         NA      NA       NA

out.natural_gas.fireplace.energy_consumption            150.171     73.220   2.051 0.040341 *

out.natural_gas.grill.energy_consumption               -941.803    146.916  -6.411 1.63e-10 ***

out.natural_gas.heating_hp_bkup.energy_consumption           NA         NA      NA       NA

out.natural_gas.heating.energy_consumption                   NA         NA      NA       NA

out.natural_gas.hot_tub_heater.energy_consumption       797.044   4875.289   0.163 0.870144

out.natural_gas.hot_water.energy_consumption                 NA         NA      NA       NA

out.natural_gas.lighting.energy_consumption            3087.945    657.161   4.699 2.71e-06 ***

out.natural_gas.pool_heater.energy_consumption          -67.873     29.385  -2.310 0.020952 *

out.natural_gas.range_oven.energy_consumption                NA         NA      NA       NA

out.propane.clothes_dryer.energy_consumption                 NA         NA      NA       NA

out.propane.heating_hp_bkup.energy_consumption               NA         NA      NA       NA

out.propane.heating.energy_consumption                       NA         NA      NA       NA

out.propane.hot_water.energy_consumption                     NA         NA      NA       NA

out.propane.range_oven.energy_consumption                    NA         NA      NA       NA

---

Signif. codes:  0 ‘***’ 0.001 ‘**’ 0.01 ‘*’ 0.05 ‘.’ 0.1 ‘ ’ 1

Residual standard error: 139.3 on 3696 degrees of freedom

Multiple R-squared:  0.8686,	Adjusted R-squared:  0.8677

F-statistic: 977.4 on 25 and 3696 DF,  p-value: < 2.2e-16

First Call With All Out Variables

Call:

lm(formula = month_total_electricity_usage ~ ., data = train_data2)

Residuals:

Min      1Q  Median      3Q     Max

-903.34  -32.76   -1.18   48.02  244.28

Coefficients:

Estimate Std. Error t value Pr(>|t|)

(Intercept)                                                 20.40202   10.08300   2.023 0.043103 *

out.electricity.ceiling_fan.energy_consumption_total        -0.11167    0.71352  -0.157 0.875639

out.electricity.clothes_dryer.energy_consumption_total      -1.40807    0.30957  -4.549 5.57e-06 ***

out.electricity.clothes_washer.energy_consumption_total     28.01696    4.25203   6.589 5.05e-11 ***

out.electricity.cooling_fans_pumps.energy_consumption_total  2.87064    0.84251   3.407 0.000663 ***

out.electricity.cooling.energy_consumption_total             0.99663    0.05749  17.335  < 2e-16 ***

out.electricity.dishwasher.energy_consumption_total         -5.11807    0.51211  -9.994  < 2e-16 ***

out.electricity.hot_water.energy_consumption_total           1.47016    0.23381   6.288 3.59e-10 ***

out.electricity.lighting_exterior.energy_consumption_total   0.10797    1.81385   0.060 0.952535

out.electricity.lighting_garage.energy_consumption_total     0.30706    1.13047   0.272 0.785928

out.electricity.lighting_interior.energy_consumption_total   1.15631    0.16051   7.204 7.05e-13 ***

out.electricity.plug_loads.energy_consumption_total          1.13450    0.03161  35.893  < 2e-16 ***

out.electricity.range_oven.energy_consumption_total         -0.36529    0.28500  -1.282 0.200015

out.electricity.refrigerator.energy_consumption_total        0.51453    0.08401   6.125 1.00e-09 ***

out.electricity.well_pump.energy_consumption_total           0.39231    0.22647   1.732 0.083297 .

---

Signif. codes:  0 ‘***’ 0.001 ‘**’ 0.01 ‘*’ 0.05 ‘.’ 0.1 ‘ ’ 1

Residual standard error: 138.8 on 3707 degrees of freedom

Multiple R-squared:  0.8692,	Adjusted R-squared:  0.8687

F-statistic:  1760 on 14 and 3707 DF,  p-value: < 2.2e-16

Model 2 represents variables that have to do with application usage and see what effect that they have on the total energy usage for the month.

Key Takeaways from the Graph:

Linearity: The graph again shows a good linear relationship between the predicted and observed values. The data points are closely clustered around the red line, which suggests a good fit for the model.

Data Spread: Most of the data points are concentrated towards the lower end of the scale, which might indicate that the model performs well for typical or average conditions but could be less accurate at higher usage levels.

Statistical Model Analysis:

Significant Variables:

Cooling Systems: Large negative coefficients for cooling fans and pumps suggest that these appliances contribute significantly to electricity consumption when used.

Lighting: Exterior and interior lighting have a notable impact on electricity usage, with exterior lighting having a particularly high coefficient, indicating substantial energy consumption.

Plug Loads: This variable, indicating the energy consumed by plugged-in devices, has a very high positive coefficient, showing its substantial impact on overall electricity usage.

Natural Gas Appliances: Some natural gas appliances (like grills and lighting) also affect electricity usage, possibly through interactions with systems that depend on electricity for operation.

Model Fit: The model's multiple R-squared value of 0.8686 indicates that approximately 86.86% of the variance in monthly electricity usage is explained by the predictors in the model, which is an excellent level of explanatory power.

Model 3 (Weather):

Call:

lm(formula = month_total_electricity_usage ~ ., data = train_data3)

Residuals:

Min       1Q   Median       3Q      Max

-1337.38  -238.10   -47.41   218.48  1410.82

Coefficients:

Estimate Std. Error t value Pr(>|t|)

(Intercept)                          2.009e+03  1.919e+04   0.105 0.916629

time                                -8.512e-07  1.252e-05  -0.068 0.945820

Dry.Bulb.Temperature...C.            1.318e+01  3.819e+00   3.450 0.000566 ***

Relative.Humidity....               -1.052e+00  7.925e-01  -1.328 0.184268

Wind.Speed..m.s.                     9.861e+00  4.098e+00   2.406 0.016159 *

Wind.Direction..Deg.                -7.342e-02  8.351e-02  -0.879 0.379369

Global.Horizontal.Radiation..W.m2.  -1.571e+00  3.021e+00  -0.520 0.603112

Direct.Normal.Radiation..W.m2.       1.336e+00  2.890e+00   0.462 0.643843

Diffuse.Horizontal.Radiation..W.m2.  1.370e+00  3.005e+00   0.456 0.648641

---

Signif. codes:  0 ‘***’ 0.001 ‘**’ 0.01 ‘*’ 0.05 ‘.’ 0.1 ‘ ’ 1

Residual standard error: 381.5 on 3713 degrees of freedom

Multiple R-squared:  0.00972,	Adjusted R-squared:  0.007586

F-statistic: 4.556 on 8 and 3713 DF,  p-value: 1.549e-05

Model 3 represents variables that have to do with weather and see what effect that they have on the total energy usage for the month.

It seems that the only variable when it comes to weather that is considered statistically significant is Dry Bulb Temperature. All other variables do not contribute significantly to energy usage. Wind speed seems to have a small effect as well. Due to these factors not really contributing our R-squared becomes 0.007586 which means that 0.7586% of variance can be attributed to these factors.

Key Takeaways from the Graph:

Scatter Plot Overview: This graph has a wide spread of points around the red line, which suggests greater prediction errors compared to the previous models. The red line is intended to show where the predicted values equal the observed values.

Prediction Accuracy: The predictions are more scattered across the graph, with a notable number of points far off the line, indicating the model's poor performance in accurately predicting values based on weather variables alone.

Statistical Model Analysis:

Model Summary: The model uses weather parameters such as temperature, humidity, wind speed, wind direction, and different types of solar radiation to predict monthly electricity usage.

Significant Predictors:

Dry Bulb Temperature (°C): Positive coefficient indicating higher temperatures lead to increased electricity usage, likely due to air conditioning and cooling systems.

Wind Speed (m/s): Another positive coefficient which could be related to more cooling needed on windy days or some other mechanical factors in buildings.

Model Effectiveness:

Low R-squared Value: The model’s R-squared value is just 0.00972, indicating that only about 0.97% of the variance in electricity usage is explained by these weather variables. This low value suggests that weather alone is not a strong predictor of monthly electricity usage in this dataset. The F-statistic suggests that while being statistically significant, the model's overall ability to predict electricity usage is limited.

Model 5 (Full Comprehensive):

Call:

lm(formula = month_total_electricity_usage ~ ., data = train_data5)

Residuals:

Min      1Q  Median      3Q     Max

-756.60  -47.69   -2.04   47.22  291.92

Coefficients: (17 not defined because of singularities)

Estimate Std. Error t value Pr(>|t|)

(Intercept)                                            3.364e+02  2.154e+01  15.621  < 2e-16 ***

in.geometry_floor_area1500-1999                        5.739e+01  4.769e+00  12.033  < 2e-16 ***

in.geometry_floor_area2000-2499                        7.376e+01  5.462e+00  13.504  < 2e-16 ***

in.geometry_floor_area2500-2999                        8.777e+01  6.246e+00  14.051  < 2e-16 ***

in.geometry_floor_area3000-3999                        2.138e+02  7.211e+00  29.647  < 2e-16 ***

in.geometry_floor_area4000+                            6.175e+02  1.255e+01  49.212  < 2e-16 ***

in.geometry_floor_area500-749                         -5.053e+01  1.172e+01  -4.312 1.66e-05 ***

in.geometry_floor_area750-999                         -9.480e+01  9.612e+00  -9.863  < 2e-16 ***

in.geometry_stories                                    2.008e+01  3.142e+00   6.390 1.87e-10 ***

in.heating_setpoint60F                                -1.536e+01  1.488e+01  -1.032   0.3022

in.heating_setpoint65F                                 1.401e+02  9.426e+00  14.864  < 2e-16 ***

in.heating_setpoint67F                                 1.245e+02  1.502e+01   8.291  < 2e-16 ***

in.heating_setpoint68F                                 1.180e+02  7.800e+00  15.130  < 2e-16 ***

in.heating_setpoint70F                                 9.550e+01  7.541e+00  12.665  < 2e-16 ***

in.heating_setpoint72F                                 7.972e+01  7.370e+00  10.818  < 2e-16 ***

in.heating_setpoint75F                                 1.094e+02  8.158e+00  13.406  < 2e-16 ***

in.heating_setpoint76F                                 5.413e+01  8.804e+00   6.148 8.66e-10 ***

in.heating_setpoint78F                                 6.748e+01  1.074e+01   6.285 3.66e-10 ***

in.heating_setpoint80F                                 4.247e+01  1.044e+01   4.068 4.85e-05 ***

in.cooling_setpoint67F                                -9.627e+01  1.576e+01  -6.107 1.12e-09 ***

in.cooling_setpoint68F                                -1.421e+02  9.081e+00 -15.648  < 2e-16 ***

in.cooling_setpoint70F                                -1.272e+02  8.248e+00 -15.420  < 2e-16 ***

in.cooling_setpoint72F                                -1.948e+02  8.291e+00 -23.495  < 2e-16 ***

in.cooling_setpoint75F                                -2.584e+02  8.863e+00 -29.160  < 2e-16 ***

in.cooling_setpoint76F                                -3.013e+02  9.007e+00 -33.457  < 2e-16 ***

in.cooling_setpoint78F                                -3.099e+02  8.924e+00 -34.727  < 2e-16 ***

in.cooling_setpoint80F                                -3.833e+02  1.091e+01 -35.122  < 2e-16 ***

in.hvac_heating_typeDucted Heating                     1.421e+00  3.715e+00   0.383   0.7021

in.hvac_heating_typeNon-Ducted Heating                 1.491e+01  9.862e+00   1.512   0.1306

in.hvac_cooling_typeHeat Pump                                 NA         NA      NA       NA

in.hvac_cooling_typeNone                              -1.739e+01  1.103e+01  -1.577   0.1149

in.hvac_cooling_typeRoom AC                           -1.675e+02  9.963e+00 -16.808  < 2e-16 ***

out.electricity.clothes_dryer.energy_consumption      -3.740e+00  6.229e+00  -0.600   0.5483

out.electricity.clothes_washer.energy_consumption      2.493e+01  5.832e+01   0.427   0.6691

out.electricity.cooling_fans_pumps.energy_consumption -5.742e+02  3.075e+02  -1.868   0.0619 .

out.electricity.cooling.energy_consumption             9.161e+01  2.287e+01   4.005 6.32e-05 ***

out.electricity.dishwasher.energy_consumption         -4.691e+01  3.097e+01  -1.515   0.1299

out.electricity.freezer.energy_consumption             1.507e+03  7.992e+01  18.859  < 2e-16 ***

out.electricity.heating_fans_pumps.energy_consumption         NA         NA      NA       NA

out.electricity.heating_hp_bkup.energy_consumption            NA         NA      NA       NA

out.electricity.heating.energy_consumption                    NA         NA      NA       NA

out.electricity.hot_tub_heater.energy_consumption     -5.771e+04  7.149e+03  -8.072 9.27e-16 ***

out.electricity.hot_tub_pump.energy_consumption        5.680e+04  6.865e+03   8.274  < 2e-16 ***

out.electricity.hot_water.energy_consumption           8.167e+01  1.351e+01   6.045 1.65e-09 ***

out.electricity.lighting_exterior.energy_consumption   1.392e+04  4.229e+02  32.907  < 2e-16 ***

out.electricity.lighting_garage.energy_consumption    -4.163e+02  6.600e+02  -0.631   0.5282

out.electricity.lighting_interior.energy_consumption  -1.744e+02  2.045e+01  -8.526  < 2e-16 ***

out.electricity.mech_vent.energy_consumption          -2.102e+03  3.428e+02  -6.130 9.70e-10 ***

out.electricity.plug_loads.energy_consumption          9.405e+02  1.053e+01  89.304  < 2e-16 ***

out.electricity.pool_heater.energy_consumption         6.750e+02  7.803e+01   8.650  < 2e-16 ***

out.electricity.pool_pump.energy_consumption           4.860e+02  1.237e+01  39.295  < 2e-16 ***

out.electricity.pv.energy_consumption                  2.418e+02  3.428e+00  70.549  < 2e-16 ***

out.electricity.range_oven.energy_consumption         -2.994e+00  7.862e+00  -0.381   0.7034

out.electricity.refrigerator.energy_consumption        7.977e+02  4.101e+01  19.450  < 2e-16 ***

out.electricity.well_pump.energy_consumption           9.334e+02  1.424e+02   6.555 6.33e-11 ***

out.fuel_oil.heating_hp_bkup.energy_consumption               NA         NA      NA       NA

out.fuel_oil.heating.energy_consumption                       NA         NA      NA       NA

out.fuel_oil.hot_water.energy_consumption                     NA         NA      NA       NA

out.natural_gas.clothes_dryer.energy_consumption              NA         NA      NA       NA

out.natural_gas.fireplace.energy_consumption          -1.901e+02  4.573e+01  -4.157 3.29e-05 ***

out.natural_gas.grill.energy_consumption              -5.159e+02  9.773e+01  -5.279 1.37e-07 ***

out.natural_gas.heating_hp_bkup.energy_consumption            NA         NA      NA       NA

out.natural_gas.heating.energy_consumption                    NA         NA      NA       NA

out.natural_gas.hot_tub_heater.energy_consumption     -2.608e+04  3.160e+03  -8.253  < 2e-16 ***

out.natural_gas.hot_water.energy_consumption                  NA         NA      NA       NA

out.natural_gas.lighting.energy_consumption            1.811e+03  4.016e+02   4.509 6.73e-06 ***

out.natural_gas.pool_heater.energy_consumption        -2.151e+01  2.069e+01  -1.040   0.2986

out.natural_gas.range_oven.energy_consumption                 NA         NA      NA       NA

out.propane.clothes_dryer.energy_consumption                  NA         NA      NA       NA

out.propane.heating_hp_bkup.energy_consumption                NA         NA      NA       NA

out.propane.heating.energy_consumption                        NA         NA      NA       NA

out.propane.hot_water.energy_consumption                      NA         NA      NA       NA

out.propane.range_oven.energy_consumption                     NA         NA      NA       NA

Dry.Bulb.Temperature...C.                              2.808e+00  6.200e-01   4.530 6.09e-06 ***

Wind.Speed..m.s.                                       6.830e+00  8.846e-01   7.721 1.47e-14 ***

---

Signif. codes:  0 ‘***’ 0.001 ‘**’ 0.01 ‘*’ 0.05 ‘.’ 0.1 ‘ ’ 1

Residual standard error: 82.04 on 3664 degrees of freedom

Multiple R-squared:  0.9548,	Adjusted R-squared:  0.9541

F-statistic:  1358 on 57 and 3664 DF,  p-value: < 2.2e-16

Model 5 represents a comprehensive model using all of the electricity variables,  temperature and wind speeds, and building specifications. This model was too much so we decided to narrow it down more by eliminating the variables that came back with NA and other variables that were not statistically significant to the model.

The scatter plot from your comprehensive model, Model 5, clearly shows a much tighter fit between observed and predicted values compared to the previous models, especially the one involving weather variables. This improvement is also evident in the very high R-squared value of 0.9548, suggesting that this model explains about 95.48% of the variability in electricity usage. Here's an analysis of this model and its implications:

Graph Analysis:

Scatter Plot Overview: The data points align very closely to the line of perfect prediction (the red line), indicating high accuracy in the predictions made by the model.

Data Distribution: There are fewer outliers and the data is tightly clustered around the line across the full range of observed values, suggesting consistent model performance across different scales of electricity usage.

Statistical Model Analysis:

Significant Predictors:

Floor Area: Different categories of floor area significantly impact electricity usage, with larger areas generally associated with higher usage.

Heating and Cooling Setpoints: Variations in setpoints significantly affect electricity usage, indicating the energy intensity required to maintain different indoor climates.

Appliance Usage: Specific appliances like freezers and pool pumps show significant energy consumption rates.

Weather Conditions: Variables like dry bulb temperature and wind speed are also significant, which ties the electricity usage to environmental conditions.

Model Effectiveness:

Model 5 clearly shows a much tighter fit between observed and predicted values compared to our previous models. This improvement is evident in the very high R-squared value of 0.9548, suggesting that this model explains about 95.48% of the variability in electricity usage.

Model 4 (Refined Comprehensive):

Call:

lm(formula = month_total_electricity_usage ~ ., data = train_data4)

Residuals:

Min      1Q  Median      3Q     Max

-699.23  -52.11    6.79   57.47  266.48

Coefficients: (1 not defined because of singularities)

Estimate Std. Error t value Pr(>|t|)

(Intercept)                                                 -130.89835   31.89489  -4.104 4.15e-05 ***

in.geometry_floor_area1500-1999                              -21.05926    7.12861  -2.954 0.003155 **

in.geometry_floor_area2000-2499                              -59.49792    8.97495  -6.629 3.86e-11 ***

in.geometry_floor_area2500-2999                               -1.76812   10.10975  -0.175 0.861174

in.geometry_floor_area3000-3999                              -32.05246   14.07684  -2.277 0.022846 *

in.geometry_floor_area4000+                                 -129.93423   30.25125  -4.295 1.79e-05 ***

in.geometry_floor_area500-749                                116.74999   16.01404   7.290 3.76e-13 ***

in.geometry_floor_area750-999                                169.45539   12.71403  13.328  < 2e-16 ***

in.geometry_stories                                           17.59603    4.59075   3.833 0.000129 ***

in.heating_setpoint60F                                       -44.79257   23.07092  -1.942 0.052272 .

in.heating_setpoint65F                                      -132.03918   16.21770  -8.142 5.28e-16 ***

in.heating_setpoint67F                                      -271.64245   23.96741 -11.334  < 2e-16 ***

in.heating_setpoint68F                                       -24.13912   14.74193  -1.637 0.101623

in.heating_setpoint70F                                       -43.12599   14.39094  -2.997 0.002747 **

in.heating_setpoint72F                                         6.49989   14.48621   0.449 0.653678

in.heating_setpoint75F                                        -9.79724   15.21972  -0.644 0.519797

in.heating_setpoint76F                                       -20.77186   16.01448  -1.297 0.194689

in.heating_setpoint78F                                        58.06043   18.56564   3.127 0.001778 **

in.heating_setpoint80F                                         8.37342   17.58254   0.476 0.633935

in.cooling_setpoint67F                                        -2.87525   24.77418  -0.116 0.907613

in.cooling_setpoint68F                                        51.71184   13.76004   3.758 0.000174 ***

in.cooling_setpoint70F                                        98.61770   12.55282   7.856 5.16e-15 ***

in.cooling_setpoint72F                                       154.37099   13.48147  11.451  < 2e-16 ***

in.cooling_setpoint75F                                       171.26240   15.10936  11.335  < 2e-16 ***

in.cooling_setpoint76F                                        76.07624   16.39687   4.640 3.61e-06 ***

in.cooling_setpoint78F                                       102.73267   15.67273   6.555 6.34e-11 ***

in.cooling_setpoint80F                                        75.67310   18.81075   4.023 5.87e-05 ***

in.hvac_heating_typeDucted Heating                           -50.28925    5.26666  -9.549  < 2e-16 ***

in.hvac_heating_typeNon-Ducted Heating                        23.94414   14.43236   1.659 0.097189 .

in.hvac_cooling_typeHeat Pump                                       NA         NA      NA       NA

in.hvac_cooling_typeNone                                    -192.37119   16.26520 -11.827  < 2e-16 ***

in.hvac_cooling_typeRoom AC                                  -32.33511   16.19131  -1.997 0.045892 *

out.electricity.ceiling_fan.energy_consumption_total          -0.45093    0.71978  -0.626 0.531036

out.electricity.clothes_dryer.energy_consumption_total        -3.06558    0.31297  -9.795  < 2e-16 ***

out.electricity.clothes_washer.energy_consumption_total       58.38660    4.23243  13.795  < 2e-16 ***

out.electricity.cooling_fans_pumps.energy_consumption_total    4.72048    1.17732   4.009 6.21e-05 ***

out.electricity.cooling.energy_consumption_total               1.07793    0.08610  12.519  < 2e-16 ***

out.electricity.dishwasher.energy_consumption_total           -6.31434    0.52250 -12.085  < 2e-16 ***

out.electricity.hot_water.energy_consumption_total             1.32066    0.24367   5.420 6.35e-08 ***

out.electricity.lighting_exterior.energy_consumption_total   -11.17369    2.42705  -4.604 4.29e-06 ***

out.electricity.lighting_garage.energy_consumption_total       3.08305    1.12193   2.748 0.006025 **

out.electricity.lighting_interior.energy_consumption_total     2.08168    0.21960   9.479  < 2e-16 ***

out.electricity.plug_loads.energy_consumption_total            1.07944    0.03337  32.349  < 2e-16 ***

out.electricity.range_oven.energy_consumption_total           -0.76229    0.32850  -2.321 0.020365 *

out.electricity.refrigerator.energy_consumption_total          0.66549    0.07810   8.521  < 2e-16 ***

out.electricity.well_pump.energy_consumption_total             2.35804    0.21951  10.742  < 2e-16 ***

Dry.Bulb.Temperature...C.                                      0.12191    0.77376   0.158 0.874812

Wind.Speed..m.s.                                              -0.60502    1.29756  -0.466 0.641045

---

Signif. codes:  0 ‘***’ 0.001 ‘**’ 0.01 ‘*’ 0.05 ‘.’ 0.1 ‘ ’ 1

Residual standard error: 118.5 on 3675 degrees of freedom

Multiple R-squared:  0.9054,	Adjusted R-squared:  0.9042

F-statistic: 764.6 on 46 and 3675 DF,  p-value: < 2.2e-16

Model 4 is a version of that comprehensive model that has been refined in order to get a more accurate prediction of the total energy usage for the month. This is the model that we are going to use to predict peak demand for energy usage in July.

Graph Analysis:

Scatter Plot Details: The data points are closely clustered around the red line throughout the range, indicating that the model predicts electricity usage quite accurately across varying scales.

Distribution and Outliers: There appears to be a consistent distribution of prediction accuracy with a few outliers, suggesting that while the model is generally robust, there might be specific cases or conditions under which it underperforms.

Statistical Model Analysis:

Key Significant Predictors:

Floor Area: The coefficients show that smaller floor areas (500-999 sq. ft.) significantly increase predicted usage, while larger areas (2000 sq. ft. and above) tend to decrease it, possibly due to more efficient energy use in larger spaces or different types of usage patterns.

Heating and Cooling Setpoints: Varied impacts are seen with different setpoints, suggesting complex interactions between temperature management practices and electricity usage.

HVAC Types: The model identifies significant differences between ducted and non-ducted heating, as well as the lack of HVAC, which substantially impacts electricity usage.

Appliance Consumption: Each appliance's energy consumption adds a distinct amount to the electricity usage predictions, with particularly strong influences from cooling-related appliances.

Model Effectiveness:

The scatter plot from Model 4, our refined comprehensive model, also shows a strong alignment between the observed and predicted values, as evidenced by the data clustering closely to the line of perfect prediction. This suggests high accuracy in the predictions, with the model explaining approximately 90.54% of the variance in electricity usage.

The bar chart of the coefficients from the linear model, reflecting the impact of each variable on the month_total_electricity_usage. The chart is sorted to show the smallest coefficients at the top and the largest at the bottom, with negative values extending leftward and positive values rightward. The plot provides a clear visual emphasis on each coefficient's impact. ​

Analysis of Coefficient Impacts:

Positive Influences: Variables with positive coefficients increase the predicted electricity usage. These include various cooling setpoints and specific appliance usages, which suggest that higher settings and more intensive appliance usage drive up electricity usage.

Negative Influences: Variables with negative coefficients, which decrease the predicted usage, include several heating setpoints and some floor area categories. This indicates that certain setpoints and building sizes lead to lower electricity consumption, perhaps due to more efficient heating or better insulation in larger or specifically configured buildings.

Key Variables and Their Impacts:

HVAC and Setpoints:

Cooling Setpoints: Higher cooling setpoints generally have positive coefficients, indicating an increase in electricity usage as the temperature setpoint is raised.

Heating Setpoints: Conversely, some heating setpoints have negative impacts, which could reflect energy savings from lower heating demands at certain thresholds.

Floor Area:

Smaller Areas: Certain smaller floor areas appear to have positive impacts on electricity usage, perhaps due to less efficient energy use or different lifestyle patterns.

Larger Areas: Some larger floor areas have negative coefficients, suggesting more efficient energy use or different usage patterns that lead to lower relative electricity consumption.

Appliance Usage:

Specific Appliances: The energy consumption totals for appliances like clothes washers, dishwashers, and cooling systems are significant predictors of total electricity usage, with some contributing positively and others negatively.

Practical Implications:

Energy Management: Understanding these relationships helps in managing energy more effectively, particularly by focusing on modifying setpoints and managing appliance use.

Policy and Planning: Insights from this analysis can inform building codes, energy efficiency standards, and incentives for using energy-efficient appliances.

Model 6 (RCM - 5 Degrees Hotter):

Call:

lm(formula = month_total_electricity_usage ~ ., data = train_data6)

Residuals:

Min      1Q  Median      3Q     Max

-699.23  -52.11    6.79   57.47  266.48

Coefficients: (1 not defined because of singularities)

Estimate Std. Error t value Pr(>|t|)

(Intercept)                                                 -131.50792   34.78954  -3.780 0.000159 ***

in.geometry_floor_area1500-1999                              -21.05926    7.12861  -2.954 0.003155 **

in.geometry_floor_area2000-2499                              -59.49792    8.97495  -6.629 3.86e-11 ***

in.geometry_floor_area2500-2999                               -1.76812   10.10975  -0.175 0.861174

in.geometry_floor_area3000-3999                              -32.05246   14.07684  -2.277 0.022846 *

in.geometry_floor_area4000+                                 -129.93423   30.25125  -4.295 1.79e-05 ***

in.geometry_floor_area500-749                                116.74999   16.01404   7.290 3.76e-13 ***

in.geometry_floor_area750-999                                169.45539   12.71403  13.328  < 2e-16 ***

in.geometry_stories                                           17.59603    4.59075   3.833 0.000129 ***

in.heating_setpoint60F                                       -44.79257   23.07092  -1.942 0.052272 .

in.heating_setpoint65F                                      -132.03918   16.21770  -8.142 5.28e-16 ***

in.heating_setpoint67F                                      -271.64245   23.96741 -11.334  < 2e-16 ***

in.heating_setpoint68F                                       -24.13912   14.74193  -1.637 0.101623

in.heating_setpoint70F                                       -43.12599   14.39094  -2.997 0.002747 **

in.heating_setpoint72F                                         6.49989   14.48621   0.449 0.653678

in.heating_setpoint75F                                        -9.79724   15.21972  -0.644 0.519797

in.heating_setpoint76F                                       -20.77186   16.01448  -1.297 0.194689

in.heating_setpoint78F                                        58.06043   18.56564   3.127 0.001778 **

in.heating_setpoint80F                                         8.37342   17.58254   0.476 0.633935

in.cooling_setpoint67F                                        -2.87525   24.77418  -0.116 0.907613

in.cooling_setpoint68F                                        51.71184   13.76004   3.758 0.000174 ***

in.cooling_setpoint70F                                        98.61770   12.55282   7.856 5.16e-15 ***

in.cooling_setpoint72F                                       154.37099   13.48147  11.451  < 2e-16 ***

in.cooling_setpoint75F                                       171.26240   15.10936  11.335  < 2e-16 ***

in.cooling_setpoint76F                                        76.07624   16.39687   4.640 3.61e-06 ***

in.cooling_setpoint78F                                       102.73267   15.67273   6.555 6.34e-11 ***

in.cooling_setpoint80F                                        75.67310   18.81075   4.023 5.87e-05 ***

in.hvac_heating_typeDucted Heating                           -50.28925    5.26666  -9.549  < 2e-16 ***

in.hvac_heating_typeNon-Ducted Heating                        23.94414   14.43236   1.659 0.097189 .

in.hvac_cooling_typeHeat Pump                                       NA         NA      NA       NA

in.hvac_cooling_typeNone                                    -192.37119   16.26520 -11.827  < 2e-16 ***

in.hvac_cooling_typeRoom AC                                  -32.33511   16.19131  -1.997 0.045892 *

out.electricity.ceiling_fan.energy_consumption_total          -0.45093    0.71978  -0.626 0.531036

out.electricity.clothes_dryer.energy_consumption_total        -3.06558    0.31297  -9.795  < 2e-16 ***

out.electricity.clothes_washer.energy_consumption_total       58.38660    4.23243  13.795  < 2e-16 ***

out.electricity.cooling_fans_pumps.energy_consumption_total    4.72048    1.17732   4.009 6.21e-05 ***

out.electricity.cooling.energy_consumption_total               1.07793    0.08610  12.519  < 2e-16 ***

out.electricity.dishwasher.energy_consumption_total           -6.31434    0.52250 -12.085  < 2e-16 ***

out.electricity.hot_water.energy_consumption_total             1.32066    0.24367   5.420 6.35e-08 ***

out.electricity.lighting_exterior.energy_consumption_total   -11.17369    2.42705  -4.604 4.29e-06 ***

out.electricity.lighting_garage.energy_consumption_total       3.08305    1.12193   2.748 0.006025 **

out.electricity.lighting_interior.energy_consumption_total     2.08168    0.21960   9.479  < 2e-16 ***

out.electricity.plug_loads.energy_consumption_total            1.07944    0.03337  32.349  < 2e-16 ***

out.electricity.range_oven.energy_consumption_total           -0.76229    0.32850  -2.321 0.020365 *

out.electricity.refrigerator.energy_consumption_total          0.66549    0.07810   8.521  < 2e-16 ***

out.electricity.well_pump.energy_consumption_total             2.35804    0.21951  10.742  < 2e-16 ***

Dry.Bulb.Temperature...C.                                      0.12191    0.77376   0.158 0.874812

Wind.Speed..m.s.                                              -0.60502    1.29756  -0.466 0.641045

---

Signif. codes:  0 ‘***’ 0.001 ‘**’ 0.01 ‘*’ 0.05 ‘.’ 0.1 ‘ ’ 1

Residual standard error: 118.5 on 3675 degrees of freedom

Multiple R-squared:  0.9054,	Adjusted R-squared:  0.9042

F-statistic: 764.6 on 46 and 3675 DF,  p-value: < 2.2e-16

Model 6 is our comprehensive refined model (Model 4) using the data set that adds 5 degrees to “Dry.Bulb.Temperature”…C variable.

Graph Analysis:

Scatter Plot Observations: The closeness of the data points to the line of perfect prediction throughout the range of observed values suggests that the model is effectively capturing the relationship between the predictors and the electricity usage.

Prediction Distribution: There is minimal scatter away from the prediction line, indicating consistent model performance across the range of data.

Statistical Model Analysis:

Key Predictors and Their Impacts:

Floor Area Adjustments: Smaller floor areas (500-999 sq. ft.) show an increase in predicted usage, which is consistent with previous models, suggesting a higher per-square-foot energy consumption in smaller spaces.

Setpoints for Heating and Cooling: Adjustments in the setpoints significantly impact electricity usage, with cooling setpoints showing particularly strong effects, likely due to increased air conditioning loads.

HVAC Systems: The absence of an HVAC system leads to significant reductions in predicted electricity usage, while different types of heating show varied impacts.

Appliance-Specific Consumption: Individual appliances, particularly those related to cooling and washing, have substantial coefficients, reflecting their energy demands.

Model Effectiveness:

The scatter plot for Model 6 showcases excellent alignment between observed and predicted values, similarly to our previous models, indicating strong predictive accuracy. This model, like Model 4, has an impressive R-squared value of 0.9054, which confirms a high degree of variance in electricity usage explained by the predictors included in the model.

PREDICTING PEAK AND FUTURE DEMAND

In this graph we see the predicted energy usage forJuly 2024 for the hour of 14:00. The energy usage fluctuates from day to day. We can make an educated guess that the variation in the energy usage may be due to our model’s accuracy and effectiveness.

When calculating peak energy demand using our refined comprehensive model and our data we were able to calculate that the most amount of energy used by a building in July is 2287.721 units. This occurs at the end of July somewhere between July 24-28.